| Client ID: |  | Client Name: Santosh Surgical Instruments |  |  |  | Audit date/s: 25th May 2023 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type of audit | Stage 1 |  | Stage 2 | Surv 1 | Surv 2 |  | Recert | Others |

# Audit conclusions

Detailed audit report follows. Clauses applicable to the ISO 13485 2016 indicated:

# Section 4 Quality management system

Add rows when the standard has additional clauses or audit requires additional depth of verification.

| 4.1 General requirements 4.2 Documentation requirements 4.2.1 General 4.2.2 Quality manual 4.2.3 Medical device file 4.2.4 Control of documents 4.2.5 Control of records |  |  |
| --- | --- | --- |
| Standard/s and clause ref: | Evidences / findings (Requirements specific to standards can be indicated within the same cell with subtitles of the respective standard) | Status |
| 4.1 | Evidences and comments on conformance: Reviewed Quality Manual SSI/QM/01, Issue No.: 01, Issue Dt: 01/11/2022, Last Reviewed on – 15/04/2023, Approved by: Mrs. Madhumati Manohar Tailor References to documentation: Registration Certificate GST – 27ADBPT6709R1ZQ, dated: 01/07/2017 Pan card: ADBPT6709R, dated: 19/07/1958 Udyam Certificate: UDYAM-MH-18-0125286, dated: 01/06/2018 Import Export (IEC): 0314007431 MD 42- Registration no: MH/GB/ZONE-6/16/MD-42/35/2024- Valid till 2029 MD 5: Licence to Manufacture for Sale or for Distribution of Class A or Class B medical device- MFG/MD/2024/000523 Quality Manual SSI/QM, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.: 00, Last Reviewed on – 07/07/2025, Prepared by Jitendra. Tailor and Approved by: Madhumati Tailor. Findings/NCs: Verified and Found okay. | Compliance status. |
| 4.2.1 | Evidences and comments on conformance: In an Interview with Mrs. Pinky Tailor(HR/ADMIN), it was verified that the Company has documented Quality Policy and Quality Objectives, Sequence and Interaction of the processes in the Quality Manual ensured the availability of resources and information necessary to support the operation and monitoring of these processes References to documentation: Quality Manual SSI/QM, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.: 00, Last Reviewed on – 07/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Quality Policy: SSI/QM, Annexure- G, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.: 00, Last Reviewed on – 07/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Quality Objective: SSI/QM, Annexure- H, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.: 00, Last Reviewed on – 07/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: : Verified and Found okay | Compliance status. |
| 4.2.2 | Scope document ref: Verified the Scope of organization documented in SSI/QM, Annexure- E, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.: 00, Last Reviewed on – 07/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Details of the scope: Scope statement: “Manufacture and Supply of Surgical Instruments” Findings/NCs: Verified and Found okay | Compliance status. |
| 4.2.3 | Medical file / folder references: Verified the medical device file as SSI/MDF/01, SSI/MDF/03, SSI/MDF/10 11 medical device files are maintained by the organisation References to documentation: SSI/MDF/01, SSI/MDF/03, SSI/MDF/10 Findings/NCs: Verified and Found okay | Compliance status. |
| 4.2.4 | Evidences and comments on conformance: Verified Master List of Document – SSI/MLD/01. Also reviewed the Procedure for Control of Documents – SSI/QPR/4.2.4. Procedure contains information regarding necessary time period for review, update and discard of the documents. References to documentation: Procedure for Control of Documents – SSI/QPR/4.2.4, Master List of Document – SSI/MLD/01, Findings/NCs: Verified and Found okay | Compliance status. |
| 4.2.5 | Evidences and comments on conformance: Master list of Records – SSI/MLR/01 References to documentation: Master list of Records – SSI/MLR/01, Issue Date: 01/11/2022, Issue No.: 01, Revision no.: 00. Findings/NCs: Verified and Found okay | Compliance status. |

# Section 5 Management responsibility

Add rows when the standard has additional clauses or audit requires additional depth of verification.

| 5.1. Management commitment 5.2 Customer focus 5.3 Quality Policy 5.4 Planning 5.4.1 Quality objectives 5.4.2 Quality management system planning 5.5 Responsibility, authority and communication 5.5.1 Responsibility and authority 5.5.2 Management representative 5.5.3 Internal communication 5.6 Management review 5.6.1 General 5.6.2 Review input 5.6.3 Review output |  |  |
| --- | --- | --- |
| Standard/s and clause ref: | Evidences / findings (Requirements specific to a standard can be indicated within the same cell with subtitles of the respective standard) | Status |
| 5.1 | Evidences and comments on conformance: During the interview with Mr. Jitendra Manohar Tailor, Head of Marketing/ MR, it was noted that he has played a vital role in the formulation of the organization’s Quality Policy and the establishment of quality objectives. Top management has contributed effectively to the improvement of the Quality Management System (QMS) performance through active leadership and participation. In addition to overseeing management review meetings, top management is directly involved in policy development, ensuring that objectives are clearly defined and that all necessary resources are made available for the effective functioning of the QMS. These actions confirm the seriousness and commitment of top management toward the successful implementation and continual improvement of the QMS. Interviewed Mr Manish Chalke (Quality Manager) about quality policy, he was aware of the Policy References to documentation: : Quality Manual SSI/QM, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.: 00, Last Reviewed on – 07/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and Found okay. | Compliance status. |
| 5.2 | Evidences and comments on conformance: Interviewed Mrs Madhumati Tailor for Customer Focus and found that the Top Management is focused towards Customer satisfaction. Customer satisfaction and feedback are the organization's primary objectives. Evidence of customer focus was verified by customer feedback records. Customers satisfaction was found to be 100% Total 7 customer feedbacks were received. References to documentation: Verified Customer Feedback Form – SSI/MKT/FRM/02, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Verified Customer Feedback Analysis- SSI/MKT/FRM/03, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and Found okay. | Compliance status. |
| 5.3 | Policy reference: Quality Policy: SSI/QM, Annexure- G, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.: 00, Last Reviewed on – 07/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Evidences and comments on conformance: The policy was being displayed at Head office, QC department and on display board near production department in bilingual (Hindi and English ) Interviewed Mr Manish Chalke (Quality Manager) about quality policy, he was aware of the Policy Findings/NCs: Verified and Found okay. | Compliance status. |
| 5.4.1 | Evidences and comments on conformance: The organization has established 5 quality objectives and are reviewed annually. The quality objectives are mentioned in Quality manual for the year November 2024 to October 2025 are: 1] To achieve customer satisfaction up to 75% 2] To achieve the delivery performance up to 95%. 3] To receive not more than 5 complaints in a year 4] To achieve the vendor evaluation up to 80%. 5] To provide 4 trainings per year. Verified and found that all the objectives are measurable and consistent with quality policy. Reviewed Quality Objective Monitoring Sheet (SSI/MGT/FRM/01) and found that all objectives are achieved References to documentation: Quality Objective: SSI/QM, Annexure- H, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.: 00, Last Reviewed on – 07/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Quality Objective Monitoring Sheet (SSI/MGT/FRM/01) Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor Findings/NCs: Verified and Found okay. | Compliance status. |
| 5.4.2 | Evidences and comments on conformance: Santosh Surgical Instrument made arrangements to ensure the Quality Management System has been placed into effect and has established goals for its smooth execution, which are outlined in the Quality Manual. Reviewed the quality objectives monitoring sheet SSI/MGT/FRM/01, where the company has indicated the plan of action for the six objectives. The Company policy is being displayed in bilingual which is Hindi and English both at Head office, QC department and on display board near production department. References to documentation: Quality Objective Monitoring Sheet – SSI/MGT/FRM/01, Quality Policy – SSI/QM/G, Issue No.: 01, Issue Dt: 01/11/2022, Last Reviewed on – 07/07/2025 Findings/NCs: Verified and Found okay. | Compliance status. |
| 5.5.1 | Evidences and comments on conformance: Verified the Roles, Responsibilities and Authorities matrix documented in the Quality manual under Clause 5.5. Interviewed Mr. Jitendra Tailor (MR) – He was well aware of his Job responsibilities. Interviewed Mr. Manish Chalke (Quality Manager)- He was well aware of his Job responsibilities. Role: Management Representative Responsibilities: Overall responsibility for maintaining the procedure of control of document, data and records related to ISO. Shall ensure that the processes needed for the quality management system are established, implemented and maintained. Shall report to the management on the performance of the quality management system and any need for improvement. Ensure the promotion of awareness of customer requirements throughout the organization. Shall be responsible to liaise with external parties on the matters relating to the quality management system. Planning and scheduling audit activities. Prepare audit plan. Compile the audit reports and audit findings. monitoring of corrective and preventive actions. Initiate and verify follow-up actions. Prepare agenda for MRM. Record the minutes of the MRM and distributing the same to the persons concerned Providing training to the personnel as and when required related to policies Analyze training records of all personnel. Decide upon the mode of training, the personnel for imparting training Authority: Maintaining the QMS References to documentation: Quality Manual-Responsibility & authority matrix (SSI/QM/05), Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.: 00, Last Reviewed on – 07/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and found okay | Compliance status. |
| 5.5.2 | Evidences and comments on conformance: Interviewed Mr. Jitendra Tailor (MR) – He was well aware of his Job responsibilities. References to documentation: Letter of Appointment of MR Mr. Jitendra Manohar Tailor dated – 01/11/2022 Findings/NCs: Verified and Found okay. | Compliance status. |
| 5.5.3 | Evidences and comments on conformance: Verified the internal communication matrix as mentioned in Quality Manual SSI/QM/01, Issue No. 01, Issue Date: 01/11/2022, Rev. No. 00, Last Reviewed on – 07/07/2025. The department has also assigned a particular head for the process so that no miscommunication takes place. Interviewed Mrs. Pinky Manohar Tailor, HR/Admin, about internal communication and found that the company is following a proper procedure for internal communication. verified the MRM Notice, which was circulated on 8th July, 2025, and found it OK. Internal communication takes place through the phone, meetings, or email. Customers' orders are communicated through purchase orders or orders on their letterhead. References to documentation: Quality Manual SSI/QM/01, Issue No. 01, Issue Date: 01/11/2022, Rev. No. 00, Last Reviewed on – 07/07/2025, MRM Notice – SSI/MRM/FRM/01, Issue No. 01, Issue Date: 01/11/2022, Rev. No. 00. MRM minuties- SSI/MRM/FRM/02, Issue No. 01, Issue Date: 01/11/2022, Rev. No. 00 Findings/NCs: Verified and Found okay. | Compliance status. |
| 5.6.1 | Evidences and comments on conformance: Verified Management review meeting frequency documented in the Quality Manual as annually under clause 5.6 in the Quality Manual. Notification/Agenda of MRM was circulated on 8th July, 2025 and Management Review meeting was conducted on 10th July 2025. Attendees of MRM: - Mrs. Madhumati M. Tailor ( Proprietor) - Jitendra M. Tailor ( MR and Marketing Head) - Manish Chalke ( Quality Manager ) - Sunny M. Tailor ( Product Head ) - Pinky J. Tailor ( HR/ Admin Head) References to documentation: Procedure for Management Review Meeting – SSI/QPR/5.6, Issue Dt: 01/11/2022, Rev. No.: 00, Last Reviewed on – 07/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor, Notice of MRM – SSI/MRM/FRM/01, Issue Dt: 01/11/2022, Rev. No.: 00, Prepared on – 08/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Management Review Meeting Minutes- SSI/MRM/FRM/02, Issue Dt: 01/11/2022, Rev. No.: 00, Prepared on – 10/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and Found okay. | Compliance status. |
| 5.6.2 | Evidences and comments on conformance: Verified the Management Review Input, Agenda for MRM. (SSI/MRM/FRM/01). No new regulatory requirements are required. MRM was chaired by Mr. Jitendra Manohar Tailor on 10th July 2025 and all the points were discussed in the meeting such as external and internal issue, Change in the regulatory requirements. References to documentation: Notice of MRM – SSI/MRM/FRM/01, Issue Dt: 01/11/2022, Rev. No.: 00 and Minutes of Meeting – SSI/MRM/FRM/02, Issue Dt: 01/11/2022, Rev. No.: 00, Prepared on – 10/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and Found okay. | Compliance status. |
| 5.6.3 | Evidences and comments on conformance: Verified Management Review Output, including areas for improvement, whether any QMS improvements are required, and resource requirements. References to documentation: Notice of MRM – SSI/MRM/FRM/01, Issue Dt: 01/11/2022, Rev. No.: 00 and Minutes of Meeting – SSI/MRM/FRM/02, Issue Dt: 01/11/2022, Rev. No.: 00, Prepared on – 10/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and Found okay. | Compliance status. |

# Section 6 Resource management

Add rows when the standard has additional clauses or audit requires additional depth of verification.

| 6.1 Provision of resources 6.2 Human resources 6.3 Infrastructure 6.4 Work environment and contamination control 6.4.1 Work environment 6.4.2 Contamination control |  |  |
| --- | --- | --- |
| Standard/s and clause ref: | Evidences / findings (Requirements specific to a standard can be indicated within the same cell with subtitles of the respective standard) | Status |
| 6.1 | Evidences and comments on conformance: Top management provides the resources for the manufacturing of the product. Also, it was discussed in Management Review Meeting. References to documentation: Notice of MRM – SSI/MRM/FRM/01, Issue Dt: 01/11/2022, Rev. No.: 00 and Minutes of Meeting – SSI/MRM/FRM/02, Issue Dt: 01/11/2022, Rev. No.: 00, Prepared on – 10/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and Found okay. | Compliance status. |
| 6.2 | Evidences and comments on conformance: Interviewed Mr. Jayesh Mehta, newly joined employee, experience- 6 months with the organisation. He was well aware of the Quality Objectives and Quality Policy. Verified Training record and evaluation for the same. Interviewed Mrs. Pinky Tailor( HR/ Admin) - Verified that Training needs are identified by the Top Management. Total 8 Trainings were scheduled in the training Calendar. Verified Procedure for Human Resources and found well implemented into the organisation. Verified Competency Matrix and Interviewed Mr. Vipul Bhatt ( Production Manager) and Mr. Sunny Tailor ( Product Head), found competent as per their roles and documented competencies. Training on Quality Objectives and Quality Policy was conducted by Ms. Susmita Ghosh on 12/03/2025- All employees had attended the training Training Evaluation was conducted by Ms. Susmita Ghosh on 19/05/2025- All 20 employees were evaluated for the effectiveness and found competent References to documentation: Procedure for Human Resources – SSI/PRO/6.2, Issue Dt: 01/11/2022, Rev. No.: 00, Last Reviewed on – 07/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Competency matrix – SSI/HR/FRM/03, Issue Dt: 01/11/2022, Rev. No.: 00, Last Reviewed on – 07/07/2025, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor Training calendar – SSI/HR/FRM/04, Issue Dt: 01/11/2022, Rev. No.: 00, Prepared on – 01/11/2024, Prepared by Mrs. Pinky Tailor and approved by: Madhumati Tailor Training Record – SSI/HR/FRM/05, Issue Dt: 01/11/2022, Rev. No.: 00, Prepared by Pinky. Tailor and approved by: Madhumati Tailor Findings/NCs: Verified and Found okay. | Compliance status. |
| 6.3 | Evidences and comments on conformance: Interviewed Reviewed the SOP for Infrastructure – SSI/QPR/6.3, the company has machines and monitoring equipment that are mentioned in the List of Machines - SSI/MNT/FRM/01. The company has a total of 4 machines. Checked the preventive maintenance plan (SSI/MNT/FRM/03) and preventive maintenance record (SSI/MNT/FRM/04) for the machine and foundthat the maintenance has been carried out as per plan. Also checked the breakdown record (SSI/MNT/FRM/05) and no major breakdown has occurred till now. References to documentation: Procedure for Infrastructure – SSI/QPR/6.3, Issue Dt: 01/11/2022, Rev. No.: 00, List of Machines – SSI/MNT/FRM/01 Preventive Maintenance Plan –SSI/MNT/FRM/03, Preventive Maintenance Record – SSI/MNT/FRM/04, Breakdown Record - SSI/MNT/FRM/05. Findings/NCs: Verified and Found okay. | Compliance status. |
| 6.4.1 | Evidences and comments on conformance: Infrastructure and Work environment is well maintained. Reviewed the Cleaning Checklist for the month of June and July. Housekeeping staff available for routine cleaning of all areas. Annual Health check-up for employees was last conducted on 01/08/2024. Verified Health check-up report ( Report no: AJITM3107012) tested from Aglius Daignostics, NABL approved laboratory, for Mr. Ajit Kumar (Production Worker) and found ok. Tests conducted- CBC, Skin test and Eye checkup. References to documentation: Cleaning record – SSI/HR/FRM/10, Issue Dt: 01/11/2022, Rev. No.: 00, Prepared by Pinky. Tailor and approved by: Madhumati Tailor, Health Check-up Report Findings/NCs: Verified and Found okay. | Compliance status. |
| 6.4.2 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. NA |

# Section 7 Product realization

Add rows when the standard has additional clauses or audit requires additional depth of verification.

| 7.1 Planning of product realization 7.2 Customer related processes 7.2.1 Determination of requirements related to product 7.2.2 Review of requirements related to product 7.2.3 Communication 7.3 Design and development 7.3.1 General 7.3.2 Design and development planning 7.3.3 Design and development inputs 7.3.4 Design and development outputs 7.3.5 Design and development review 7.3.6 Design and development verification 7.3.7 Design and development validation 7.3.8 Design and development transfer 7.3.9 Control of design and development changes 7.3.10 Design and development files 7.4 Purchasing 7.4.1 Purchasing process 7.4.2 Purchasing information 7.4.3 Verification of purchased product 7.5 Production and service provision 7.5.1 Control of production and service provision 7.5.2 Cleanliness of product 7.5.3 Installation activities 7.5.4 Servicing activities 7.5.5 Particular requirements for sterile medical devices 7.5.6 Validation of processes for production and service provision 7.5.7 Particular requirements for validation of processes for sterilization and sterile barrier systems 7.5.8 Identification 7.5.9 Traceability 7.5.9.1 General 7.5.9.2 Particular requirements for implantable medical devices 7.5.10 Customer property 7.5.11 Preservation of product 7.6 Control of monitoring and measuring equipment |  |  |
| --- | --- | --- |
| Standard/s and clause ref: | Evidences / findings (Requirements specific to a standard can be indicated within the same cell with subtitles of the respective standard) | Status |
| 7.1 | Evidences and comments on conformance: Reviewed Risk Management Procedure SSI/QPR/7.1. The company has carried out risk management as per Standard ISO 14971:2019 Risk Assessment for Medical Devices by calculating the severity and likelihood criteria. The company has identified two medium risks and four low risks related to their products. And all the risks are addressed with appropriate control measures. References to documentation: Risk assessment sheet - SSI/RAS/01, Issue no.:01, Issue Date: 01/11/2022, Risk Management Procedure SSI/QPR/7 Issue no.:01, Issue Date: 01/11/2022. Findings/NCs: Verified and Found okay. | Compliance status. |
| 7.2.1 | Evidences and comments on conformance: Verified Sales Invoice number: SSI/25-26/426, dated 30th Jul 2025 send to M/s Swami Rama Himalayan University, Dehradun, Buyers order no: 25-26/1513, dated: 15/07/2025 Description of goods: - Caliper Straight- 1 pc - Freers/SMR Elevator- double elevator- 1 pc - Thyroplasty window template- 1 pc Interviewed Ms Tejaswi Sawant ( Accounts Head/ Purchase Supervisor), she was well aware of the process as per the Procedure for Customer Related Processes and found well implemented. References to documentation: Procedure for Customer related Processes – SSI/QPR/7.2, Rev.00, Issue no.: 01, Issue Date-01/11/2022, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and Found okay. | Compliance status. |
| 7.2.2 | Evidences and comments on conformance: Verified Purchase Order received from M/s Swami Rama Himalayan University, Dehradun on 15th July 2025, P.O. Number- 25-26/1513 Description of items: - Caliper Straight- 1 pc - Freers/SMR Elevator- double elevator- 1 pc - Thyroplasty window template- 1 pc References to documentation Procedure for Customer related Processes – SSI/QPR/7.2, Rev.00, Issue no.: 01, Issue Date-01/11/2022, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and Found okay. | Compliance status. |
| 7.2.3 | Evidences and comments on conformance: Verified the Customer Feedback Forms received from 7 customers and the Customer Feedback Analysis was found to be 100 % Verified Customer feedback from- Customer: Fortis Hospital Location: Ludhiana Dated: 17/07/2025 Rating Criteria: Quality of Product- 4/5 Timely Delivery- 5/5 Technical competence- 4/5 Communication- 5/5 Response to complaints- 4/5 Overall rating: 22/25 Feedback signed and stamped by Dr. Sahil Ranwal Abrol( MBBS, MS (ENT) ) References to documentation: Customer Feedback Form – SSI/MKT/FRM/02, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Customer Feedback Analysis- SSI/MKT/FRM/03, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and Found okay. | Compliance status. |
| 7.3.1 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.3.2 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.3.3 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.3.4 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.3.5 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.3.6 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.3.7 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.3.8 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.3.9 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.3.10 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.4.1 | Evidences and comments on conformance: Verified List of Supplier and found 5 new suppliers added to the list and updated on 20/06/2025 New Suppliers: - Vanshika Surgical works - Pooja Surgicals - Anjali surgical Works - Deep Enterprise - Welfo fiber optics Verified Supplier Evaluation conducted on 20/06/2025 and found to be 82.5% Reviewed the SOP for purchase and found well implemented by the organisation References to documentation: Purchasing Procedure SSI/QPR/7.4, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. List of Approved Suppliers: Doc no: SSI/PUR/FRM/03, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Supplier Evaluation record: Doc no: SSI/PUR/FRM/02, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and Found okay. | Compliance status. |
| 7.4.2 | Evidences and comments on conformance: Reviewed the SOP for purchase (SSI/QPR/7.4) and also verified the purchase order, tenders, and supplier evaluation, which was found to be 82.5%. Verified Purchase Order received from M/s Swami Rama Himalayan University, Dehradun on 15th July 2025, P.O. Number- 25-26/1513 Description of items: - Caliper Straight- 1 pc - Freers/SMR Elevator- double elevator- 1 pc - Thyroplasty window template- 1 pc Verified supplier registration form for Supplier: Deep Enterprise and Welfo Fibre optics Verified Incoming Material Inspection Record– Supplier name – Siddharth Metal Industries, Raw material- Wire- 1.6mm; Challan no.: 136, Dated – 5th June 2025, Verified and approved by – Mr. Sunny Manohar Tailor Verified Finished goods Inspection Record- Customer name: Sahrudaya Health care private limited, Finished good: Micro ear suction adopter medium-7.0cm, Batch no: 1024S1b, SSI/25-26/281, dated: 21/06/2025, Verified and approved by – Mr. Sunny Manohar Tailor References to documentation: Incoming Inspection Report - SSI/QC/FRM/01, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Supplier registration Form- SSI/PUR/FRM/01, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Finished goods Inspection Report - SSI/QC/FRM/02, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and Found okay. | Compliance status. |
| 7.4.3 | Evidences and comments on conformance: Interviewed Mrs. Tejaswi Sawant and found that 5 new suppliers are added in the Suppliers list. Verified the Supplier Purchase Agreements received from the new suppliers. New Supplier agreements- 1) Vanshika Surgical works 2) Pooja Surgicals 3) Anjali surgical Works 4) Deep Enterprise 5) Welfo fiber optics References to documentation: Supplier Agreement Form – SSI/PUR/FRM/04, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and Found okay. | Compliance status. |
| 7.5.1 | Evidences and comments on conformance: Verified Daily Production Plan Date: 28/07/2025 Production plan: 1) Cautry Needle Bayonet- 22.0cm long – 35 pieces, Voucher no: 217 2) Cell seeker ball probe double curved ended frontal – 23.0cm long, 2mm- 31 pieces, Voucher no: 218, Verified by Mr. Vipul and Approved by Mr. Sunny Manohar Tailor. Verified Measuring and monitoring devices- - Vernier calliper- Sr no: SS/DVC/01, Range: 0 to 150mm, Calibrated on: 18/12/2024, Next due date: 17/12/2025, Calibrated by IKON Industries, Certificate no: IK/2024/860 - Verified Measuring tape- Sr no: SS/MT/01, Range: 0 to 5000mm, Calibrated on: 18/12/2024, Next due date: 17/12/2025, Calibrated by IKON Industries, Certificate no: IK/2024/858 References to documentation: Daily Production Record – SSI/PRD/FRM/02, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and Found okay. | Compliance status. |
| 7.5.2 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.5.3 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.5.4 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.5.5 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.5.6 | Evidences and comments on conformance: Reviewed SOP for validation of processes for production and service provision (SSI, QPR, 7.5.6) Verified tally software Validation References to documentation: Validation of Process SOP Document Number – SSI/ QPR/7.5.6, Issue Date: 01/11/2022, Issue No.: 01. Findings/NCs: Verified and Found okay. | Compliance status. |
| 7.5.7 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.5.8 | Evidences and comments on conformance: Reviewed Procedure for Product Identification: SSI/QPR/7.5.8. Verified label and barcode for the Vacular forcep, Batch No.: 725O10h Verified Batch manufacturing Record for- Piston Zig 3.0 inch References to documentation: Procedure for Product Identification Document Number – SSI/QPR/7.5.8, Issue Date: 01/11/2022, Issue No.: 01. Findings/NCs: Verified and Found okay. | Compliance status. |
| 7.5.9 | Evidences and comments on conformance: Reviewed Procedure for Product Traceability: SSI/QPR/7.5.9 References to documentation: Procedure for Product Traceability Document Number – SSI/QPR/7.5.9, Issue Date: 01/11/2022, Issue No.: 01 Findings/NCs: Verified and found okay. | Compliance status. |
| 7.5.9.1 | Evidences and comments on conformance: Reviewed Procedure for Product Traceability: SSI/QPR/7.5.9 Verified tracebilility for the Vacular forcep, Batch No.: 725O10h in tally software. References to documentation: Procedure for Product Traceability Document Number – SSI/QPR/7.5.9, Issue Date: 01/11/2022, Issue No.: 01 Findings/NCs: Verified and found okay. | Compliance status. |
| 7.5.9.2 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.5.10 | Evidences and comments on conformance: NA References to documentation: NA Findings/NCs: NA | Compliance status. |
| 7.5.11 | Evidences and comments on conformance: The reviewed SOP for Preservation of Product (SSI/QPR/7.5.11) verifies that the raw materials and finished goods are preserved at room temperature. During the site round, it was observed that all the raw materials and finished goods are stored and have proper identification marks for segregation. References to documentation: SOP for Preservation of Products Document number: SSI/QPR/7.5.11, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and found okay. | Compliance status. |
| 7.6 | Evidences and comments on conformance: Verified Procedure for Control of Monitoring and Measuring and verified the calibration report from an external lab. Verified Measuring and monitoring devices- - Vernier calliper- Sr no: SS/DVC/01, Range: 0 to 150mm, Calibrated on: 18/12/2024, Next due date: 17/12/2025, Calibrated by IKON Industries, Certificate no: IK/2024/860 - Verified Measuring tape- Sr no: SS/MT/01, Range: 0 to 5000mm, Calibrated on: 18/12/2024, Next due date: 17/12/2025, Calibrated by IKON Industries, Certificate no: IK/2024/858 References to documentation: Procedure for Control of Monitoring and Measuring Devices Document number: SSI/QPR/7.6, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and found okay. | Compliance status. |

# Section 8 Measurement, analysis and improvement

Add rows when the standard has additional clauses or audit requires additional depth of verification.

| 8.1 General 8.2 Monitoring and measurement 8.2.1 Feedback 8.2.2 Complaint handling 8.2.3 Reporting to regulatory authorities 8.2.4 Internal audit 8.2.5 Monitoring and measurement of processes 8.2.6 Monitoring and measurement of product 8.3 control of non-conforming product 8.3.1 General 8.3.2 Actions in response to nonconforming product detected before delivery 8.3.3 Actions in response to nonconforming product detected after delivery 8.3.4 Rework 8.4 Analysis of data 8.5 Improvement 8.5.1 General 8.5.2 Corrective action 8.5.3 Preventive action |  |  |  |
| --- | --- | --- | --- |
| Standard/s and clause ref: | Evidences / findings (Requirements specific to a standard can be indicated within the same cell with subtitles of the respective standard) | Status |
| 8.1 | Evidences and comments on conformance: Reviewed the measurement and analysis of processes such as training evaluation and supplier evaluation. Verified Supplier Evaluation conducted on 20/06/2025 and found to be 82.5% References to documentation: Training evaluation and Effectiveness document number - SSI/HR/FRM/06, Issue date – 01/11/2022, Issue no.: 01. Supplier Evaluation Record - SSI/PUR/FRM/02, Issue date – 01/11/2022, Issue no.: 01, Last Reviewed on – 07/07/2025 Findings/NCs: Verified and found okay. | Compliance status. |
| 8.2.1 | Evidences and comments on conformance: reviewed the SOP for Customer Feedback (SSI/QPR/8.2.1) and found that all the customers are satisfied with the product. Customer satisfaction and feedback are the organization's primary objectives. Evidence of customer focus was verified by customer feedback records. Customers satisfaction was found to be 100% Total 7 customer feedbacks were received. References to documentation: Verified Customer Feedback Form – SSI/MKT/FRM/02, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Verified Customer Feedback Analysis- SSI/MKT/FRM/03, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and found okay. | Compliance status. |
| 8.2.2 | Evidences and comments on conformance: Reviewed SOP for Handling of Customer Complaints – SSI/QPR/8.2.2, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, also reviewed the customer complaint register and found that no complaints were register. References to documentation: SOP for Handling of Customer Complaints – SSI/QPR/8.2.2, Issue date: 01/11/2022, Issue No.: 01, Customer complaint register – SSI/MKT/FRM/04, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00 Findings/NCs: Verified and found okay. | Compliance status. |
| 8.2.3 | Evidences and comments on conformance: Verified SOP for Reporting to regulatory authorities and found that no incidents were reported to regulatory authorities. References to documentation: SOP for Reporting to regulatory authorities – SSI/QPR/8.2.3, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and found okay. | Compliance status. |
| 8.2.4 | Evidences and comments on conformance: Verified Procedure for Internal Audit. Internal Audit was done on 07TH July 2025. Audit plan/ notification was circulated on 4th July 2025, Audit was conducted by Ms. Susmita Ghosh. No NCs were raised. Interviewed Mrs. Pinky Tailor and found that only 1 OFI was suggested by the Auditor. References to documentation: Procedure for Internal Audit – SSI/QPR/8.2.4, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Audit plan – SSI/IQA/FRM/02, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. List of Qualified Auditor – SSI/IQA/FRM/03, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Audit Summary –SSI/IQA/FRM/04, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and found okay. | Compliance status. |
| 8.2.5 | Evidences and comments on conformance: Verified all process parameters for manufacturing as well as QMS. Verified the manufacturing process flow chart (SSI/QM/Annex D), Interviewed the MR and found that he is well aware of all process parameters required for manufacturing. References to documentation: Manufacturing process flow chart – SSI/QM/ Annex D. Findings/NCs: Verified & Found to be compliant | Compliance status. |
| 8.2.6 | Evidences and comments on conformance: Verified SOP for Monitoring and Measurement of Product: SSI/QPR/8.2.6 Interviewed and Verified Job Card of Mr Ajay Jaiswar- (Worker) Date: 12/07/2025 Product to be manufactured: Cottle Elevator Quantity: 04 Specification: Rod-8mm/Length-8 inch Machine no: 01 ( Drilling Machine) All parameters checked and found ok. References to documentation: Procedure for Monitoring & Measurement of Product- SSI/QPR/8.2.6, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and found okay. | Compliance status. |
| 8.3.1 | Evidences and comments on conformance: Reviewed the SOP of the non-conforming product: SSI/QPR/8.3 also checked the non-conforming products and found them to be ok. During an Interview with Mr. Sunny Tailor, it was observed that Non conformity is identified during manufacturing process but not recorded. The non-conforming product is scrapped. References to documentation: Procedure for control of non-conforming product: SSI/QPR/8.3, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Observation | Compliance status. Observation |
| 8.3.2 | Evidences and comments on conformance: Reviewed the SOP of the non-conforming product: SSI/QPR/8.3 also checked the non-conforming products and found them to be ok. During an Interview with Mr. Sunny Tailor, it was observed that Non conformity is identified during manufacturing process but not recorded. The non-conforming product is scrapped. References to documentation: Procedure for control of non-conforming product: SSI/QPR/8.3, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and found okay | Compliance status. |
| 8.3.3 | Evidences and comments on conformance: Verified SOP of non-conforming product. Verified the customer complaint record and found that no complaints have been received in the last 6 months. Rework/Repairing is done for some products- such as Kerrison punch, Lucs Forcep, Cautry. Verified Delivery challan shared to Dr. Chandrshekhar Rana, dated: 05/05/2025 for repairing Kerrison punch and Lucs Forcep. References to documentation: Procedure for control of non-conforming product: SSI/QPR/8.3, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor Customer complaint record – SSI/MKT/FRM/04, Issue No.: 01, Issue Dt: 01/11/2022, Rev. No.:00, Prepared by Jitendra. Tailor and approved by: Madhumati Tailor. Findings/NCs: Verified and found okay. | Compliance status. |
| 8.3.4 | Evidences and comments on conformance: Reviewed SOP of non-conforming product: SSI/QPR/8.3 Rework/Repairing is done only in certain conditions- Powder Coating issues, Spring loose. No documented evidence is maintained for Rework Verified Delivery challan shared to Dr. Chandrshekhar Rana, dated: 05/05/2025 for repairing Kerrison punch and Lucs Forcep. Records of rework and repair activities are not being maintained as required. References to documentation: Procedure for control of non-conforming product: SSI/QPR/8.3, Issue Date: 01/11/2022, Issue No.: 01. Findings/NCs: NC | Compliance status. Minor NC-1 |
| 8.4 | Evidences and comments on conformance: Reviewed SOP for Data Analysis: SSI/QPR/8.4. Verified the customer feedback, supplier evaluation, and non-conformance report. Customer satisfaction and feedback are the organization's primary objectives. Evidence of customer focus was verified by customer feedback records. Customers satisfaction was found to be 100% Verified Supplier Evaluation conducted on 20/06/2025 and found to be 82.5% References to documentation: Procedure for Data Analysis – SSI/QPR/8.4, Issue Date: 01/11/2022, Issue No.: 01. Findings/NCs: Verified and found okay. | Compliance status. |
| 8.5.1 | Evidences and comments on conformance: The organisation has been continually improving its business processes over the years. Opportunities for improvements are identified based on business opportunities, competition, market conditions, and the changed technologies available. References to documentation: Nil Findings/NCs: Verified and found okay. | Compliance status. |
| 8.5.2 | Evidences and comments on conformance: Reviewed SOP for corrective action (SSI/QPR/8.5.2). No such improvements have been determined. CAPA report for all the minor NC raised during the Internal Audit has been verified and all the NCs are closed References to documentation: SOP for Corrective action - SSI/QPR/8.5.2, Issue Date: 01/11/2022, Issue No.: 01. Findings/NCs: Verified and found okay. | Compliance status. |
| 8.5.3 | Evidences and comments on conformance: Reviewed SOP for preventive action (SSI/QPR/8.5.3). No such improvements have been determined. CAPA report for all the minor NC raised during the Internal Audit has been verified and all the NCs are closed References to documentation: SOP for Preventive action- SSI/QPR/8.5.3, Issue Date: 01/11/2022, Issue No.: 01. Findings/NCs: Verified and found okay. | Compliance status. |

Report Summary Audit Conclusion - 1 Minor NC’s and 5 OFI’s were raised during audit. From the following evidence, it was verified that Santosh Surgical Instruments, Quality Management System has documented ISO 13485:2016 requirements; thus, Recommend Santosh Surgical Instruments for continuation of the ISO 13485:2016 certification upon successful closure of all non-conformities.